FOG Abatement Program

Food Service Establishment

Guideline for On-site Cleaning of Exhaust Filters

This document has been created to act a guideline for the restaurant owner/operator to clean the exhaust filters on-site. Always wipe down filters before cleaning them in a sink!

- Identify a location which is safely away from all food storage and food preparation areas.

- Line a large non-food storage container such as an empty trash barrel with a durable contractor bag or other similar type of liner and place the exhaust filters in the lined container.

- Spray the filters with a degreaser and then wipe the filters down with paper towels or disposable rags. Place the soiled paper towels and rags in the lined container.

- Once the filters have been thoroughly wiped down of all grease, they can be placed in the 3 bays sink, washed with hot soapy water, and rinsed clean.

- Tie up the trash liner with the grease drippings and soiled towels inside, remove the liner from the container and dispose it in the trash.

Note: If Exhaust Filters are cleaned on site by an outside contractor, the wastewater shall be captured and removed from site for proper disposal.

# Text boxes

William P. Brink, P.E. BCEE

Executive Director

Stamford Water Pollution Control Authority

Michael Handler, Chairman

SWPCA Board of Directors

Stamford Water Pollution Control Authority

Revised 2/5/20

Revised 2/5/21